## Slide 1: ECE 576 – Power System Dynamics and Stability
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
overbye@illinois.edu
Lecture 10: Synchronous Machines Models

## Slide 2: Announcements
Homework 2 is due now
Homework 3 is on the website and is due on Feb 27
Read Chapters 6 and then 4

## Slide 3
Single Machine, Infinite Bus System (SMIB)
Book introduces new variables by combining machine values with line values
Usually infinite bus angle, qvs, is zero

## Slide 4
“Transient Speed”
Mechanical time constant
A small parameter
Introduce New Constants
We are ignoring the exciter and governor for now; they will be covered in much more detail later

## Slide 5
Stator Flux Differential Equations

## Slide 6
An exact integral manifold (for any sized ε):
Special Case of Zero Resistance
Without resistance this is just an oscillator

## Slide 7
Direct Axis Equations

## Slide 8
Quadrature Axis Equations

## Slide 9
Swing Equations
These are equivalent to the more traditional swing expressions

## Slide 10
Stator Flux Expressions

## Slide 11
Network Expressions

## Slide 12
3 fast dynamic states
6 not so fast dynamic states
8 algebraic states
Machine Variable Summary
We'll get to the exciter and governor
shortly; for now Efd is fixed

## Slide 13: Elimination of Stator Transients
If we assume the stator flux equations are much faster than the remaining equations, then letting e go to zero creates an integral manifold with

## Slide 14: Impact on Studies
Image Source: P. Kundur, Power System Stability and Control, EPRI, McGraw-Hill, 1994

## Slide 15
Stator Flux Expressions

## Slide 16
Network Constraints

## Slide 17
"Interesting" Dynamic Circuit

## Slide 18
These last two equations can be written as one complex equation.
"Interesting" Dynamic Circuit

## Slide 19
Subtransient Algebraic Circuit

## Slide 20
Subtransient Algebraic Circuit
Subtransient saliency use to be ignored (i.e., assuming X"q=X"d). However that is increasingly no longer the case

## Slide 21: Simplified Machine Models
Often more simplified models were used to represent synchronous machines
These simplifications are becoming much less common
Next several slides go through how these models can be simplified, then we'll cover the standard industrial models

## Slide 22: Two-Axis Model
If we assume the damper winding dynamics are sufficiently fast, then T"do and T"qo go to zero, so there is an integral manifold for their dynamic states

## Slide 23: Two-Axis Model
Then

## Slide 24: Two-Axis Model
And

## Slide 25
Two-Axis Model

## Slide 26
Two-Axis Model
No saturation effects are included with this model

## Slide 27
Two-Axis Model

## Slide 28: Flux Decay Model
If we assume T'qo is sufficiently fast then

## Slide 29
Flux Decay Model
This model is no longer common

## Slide 30: Classical Model
Has been widely used, but most difficult to justify
From flux decay model
Or go back to the two-axis model and assume

## Slide 31
Or, argue that an integral manifold exists for
such that
Classical Model

## Slide 32
Classical Model
This is a pendulum model

## Slide 33
Full model with stator transients
Sub-transient model
Two-axis model
One-axis model
Classical model (const. E behind
)
Summary of Five Book Models

## Slide 34: Damping Torques
Friction and windage
  Usually small
Stator currents (load)
  Usually represented in the load models
Damper windings
  Directly included in the detailed machine models
  Can be added to classical model as D(w-ws)

## Slide 35: Industrial Models
There are just a handful of synchronous machine models used in North America
  GENSAL
    Salient pole model
  GENROU
    Round rotor model that has X"d = X"q
  GENTPF
    Round or salient pole model that allows X"d <> X"q
  GENTPJ
    Just a slight variation on GENTPF
We'll briefly cover each one

## Slide 36: Network Reference Frame
In transient stability the initial generator values are set from a power flow solution, which has the terminal voltage and power injection
  Current injection is just conjugate of Power/Voltage
These values are on the network reference frame, with the angle given by the slack bus angle
Voltages at bus j converted to d-q reference by
Similar for current; see book 7.24, 7.25

## Slide 37: Network Reference Frame
Issue of calculating d, which is key, will be considered for each model
Starting point is the per unit stator voltages (3.215 and 3.216 from the book)
Sometimes the scaling of the flux by the speed is neglected, but this can have a major impact on the solution

## Slide 38: Two-Axis Model
We'll start with the PowerWorld two-axis model (two-axis models are not common commercially, but they match the book on 6.110 to 6.113
Represented by two algebraic equations and four differential equations
The bus number subscript is omitted since it is not used in commercial block diagrams

## Slide 39: Two-Axis Model
Value of d is determined from (3.229 from book)
Once d is determined then we can directly solve for E'q and E'd
Sign convention on current is out of the generator is positive

## Slide 40: Example (Used for All Models)
Below example will be used with all models. Assume a 100 MVA base, with gen supplying 1.0+j0.3286 power into infinite bus with unity voltage through network impedance of j0.22
  Gives current of 1.0-j0.3286 and generator terminal voltage of 1.072+j0.22 = 1.0946 11.59 

## Slide 41: Two-Axis Example
For the two-axis model assume H = 3.0 per unit-seconds, Rs=0, Xd = 2.1, Xq = 2.0, X'd= 0.3, X'q = 0.5, T'do = 7.0, T'qo = 0.75 per unit using the 100 MVA base.
Solving we get

## Slide 42: Two-Axis Example
And
Saved as case B4_TwoAxis

## Slide 43: Subtransient Models
The two-axis model is a transient model
Essentially all commercial studies now use subtransient models
First models considered are GENSAL and GENROU, which require X"d=X"q
This allows the internal, subtransient voltage to be represented as

## Slide 44: Subtransient Models
Usually represented by a Norton Injection with
May also be shown as
In steady-state w = 1.0

## Slide 45: GENSAL
  The GENSAL model has been widely used to model salient pole synchronous generators
  In the 2010 WECC cases about 1/3 of machine models were GENSAL; in 2013 essentially none are, being replaced by GENTPF or GENTPJ
In salient pole models saturation is only assumed to affect the d-axis

## Slide 46: GENSAL Block Diagram (PSLF)
A quadratic saturation function is used. For initialization it only impacts the Efd value

## Slide 47: GENSAL Initialization
To initialize this model
  Use S(1.0) and S(1.2) to solve for the saturation coefficients
  Determine the initial value of d with
  Transform current into dq reference frame, giving id and iq
  Calculate the internal subtransient voltage as
  Convert to dq reference, giving P"d+jP"q="d+  "q
  Determine remaining elements from block diagram by recognizing in steady-state input to integrators must be zero

## Slide 48: GENSAL Example
Assume same system as before, but with the generator parameters as H=3.0, D=0, Ra = 0.01, Xd = 1.1, Xq = 0.82, X'd = 0.5, X"d=X"q=0.28, Xl = 0.13, T'do = 8.2, T"do = 0.073, T"qo =0.07, S(1.0) = 0.05, and S(1.2) = 0.2.
Same terminal conditions as before
    Current of 1.0-j0.3286 and generator terminal voltage of 1.072+j0.22 = 1.0946 11.59 
Use same equation to get initial d

## Slide 49: GENSAL Example
Then And

## Slide 50: GENSAL Example
Giving the initial fluxes (with w = 1.0)
To get the remaining variables set the differential equations equal to zero, e.g.,
Solving the d-axis requires solving two linear equations for two unknowns

## Slide 51: GENSAL Example
Once E'q has been determined, the initial field current (and hence field voltage) are easily determined by recognizing in steady-state the E'q is zero
Saved as case B4_GENSAL
Saturation coefficients were determined from the two initial values