## Slide 1: ECE 576 – Power System Dynamics and Stability
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
overbye@illinois.edu
Lecture 6: Synchronous Machine Modeling
Special Guest: TA Soobae Kim

## Slide 2: Announcements
Read Chapter 3

## Slide 3: Synchronous Machine Modeling
Electric machines are used to convert mechanical energy into electrical energy (generators) and from electrical energy into mechanical energy (motors)
  Many devices can operate in either mode, but are usually customized for one or the other
Vast majority of electricity is generated using synchronous generators and some is consumed using synchronous motors, so that is where we'll start
Much literature on subject, and sometimes overly confusing with the use of different conventions and nominclature

## Slide 4
3 bal. windings (a,b,c) – stator
Field winding (fd) on rotor
Damper in “d” axis
(1d) on rotor
2 dampers in “q” axis
(1q, 2q) on rotor
Synchronous Machine Modeling

## Slide 5: Dq0 Reference Frame
Stator is stationary and rotor is rotating at synchronous speed
Rotor values need to be transformed to fixed reference frame for analysis
This is done using Park's transformation into what is known as the dq0 reference frame (direct, quadrature, zero)
Convention used here is the q-axis leads the d-axis (which is the IEEE standard)
  Others (such as Anderson and Fouad) use a q-axis lagging convention

## Slide 6
Kirchhoff’s Voltage Law, Ohm’s Law, Faraday’s Law, Newton’s Second Law
Stator
Rotor
Shaft
Fundamental Laws

## Slide 7
Dq0 transformations

## Slide 8
with the inverse,
Dq0 transformations

## Slide 9
(symmetric)
Not symmetric if T is not power invariant.
Example: If the magnetic circuit is assumed to be linear
Note: This transformation is not power invariant. This means that some unusual things will happen when we use it.
Dq0 transformations

## Slide 10
Stator
Rotor
Shaft
Transformed System

## Slide 11
Electrical system:
Mechanical system:
Electrical & Mechanical Relationships

## Slide 12: Derive Torque
Torque is derived by looking at the overall energy balance in the system
Three systems: electrical, mechanical and the coupling magnetic field
  Electrical system losses in form of resistance
  Mechanical system losses in the form of friction
Coupling field is assumed to be lossless, hence we can track how energy moves between the electrical and mechanical systems

## Slide 13
Energy Conversion
Look at the instantaneous power:

## Slide 14
Change to Conservation of Power

## Slide 15
With the Transformed Variables

## Slide 16
With the Transformed Variables

## Slide 17
This requires the lossless coupling field assumption
Change in Coupling Field Energy

## Slide 18
For independent states , a, b, c, fd, 1d, 1q, 2q
Change in Coupling Field Energy

## Slide 19
etc.
There are eight such “reciprocity conditions for this model.
These are key conditions – i.e. the first one gives an expression for the torque in terms of the coupling field energy.
Equate the Coefficients

## Slide 20
Equate the Coefficients
These are key conditions – i.e. the first one gives an expression for the torque in terms of the coupling field energy.

## Slide 21: Coupling Field Energy
The coupling field energy is calculated using a path independent integration
  For integral to be path independent, the partial derivatives of all integrands with respect to the other states must be equal
Since integration is path independent, choose a convenient path
  Start with a de-energized system so all variables are zero
  Integrate shaft position while other variables are zero, hence no energy
  Integrate sources in sequence with shaft at final qshaft value

## Slide 22
Do the Integration

## Slide 23: Torque
Assume: iq, id, io, ifd, i1d, i1q, i2q are independent of shaft (current/flux linkage relationship is independent of shaft)
Then Wf will be independent of shaft as well
Since we have

## Slide 24
Define Unscaled Variables
ws is the rated synchronous speed
d plays an important role!

## Slide 25: Convert to Per Unit
As with power flow, values are usually expressed in per unit, here on the machine power rating
Two common sign conventions for current: motor has positive currents into machine, generator has positive out of the machine
Modify the flux linkage current relationship to account for the non power invariant “dqo” transformation

## Slide 26
where VBABC is rated RMS line-to-neutral stator voltage and
Convert to Per Unit

## Slide 27
where VBDQ is rated peak line-to-neutral stator voltage and
Convert to Per Unit

## Slide 28
Convert to Per Unit
Hence the  variables are just normalized flux linkages

## Slide 29
Where the rotor circuit base voltages are
And the rotor circuit base flux linkages are
Convert to Per Unit

## Slide 30
Convert to Per Unit

## Slide 31: Convert to Per Unit
Almost done with the per unit conversions! Finally define inertia constants and torque

## Slide 32
Synchronous Machine Equations

## Slide 33
Sinusoidal Steady-State
Here we consider the application to balanced, sinusoidal conditions

## Slide 34
Transforming to dq0

## Slide 35
Simplifying Using d
Recall that
Hence
These algebraic equations can be written as complex equations,
The conclusion is if we know d, then we can easily relate the phase to the dq values!

## Slide 36: Summary So Far
The model as developed so far has been derived using the following assumptions
  The stator has three coils in a balanced configuration, spaced 120 electrical degrees apart
  Rotor has four coils in a balanced configuration located 90 electrical degrees apart
  Relationship between the flux linkages and currents must reflect a conservative coupling field
  The relationships between the flux linkages and currents must be independent of qshaft when expressed in the dq0 coordinate system

## Slide 37: Assuming a Linear Magnetic Circuit
If the flux linkages are assumed to be a linear function of the currents then we can write
The rotor self- inductance matrix Lrr is independent of qshaft

## Slide 38
L12 = 0
L12 = + maximum
L12 = - maximum
Inductive Dependence on Shaft Angle

## Slide 39: Stator Inductances
The self inductance for each stator winding has a portion that is due to the leakage flux which does not cross the air gap, Lls
The other portion of the self inductance is due to flux crossing the air gap and can be modeled for phase a as
Mutual inductance between the stator windings is modeled as
The offset angle is either 2p/3 or -2p/3

## Slide 40
Conversion to dq0 for Angle Independence

## Slide 41
Conversion to dq0 for Angle Independence

## Slide 42: Convert to Normalized at f = ws
Convert to per unit, and assume frequency of ws
Then define new per unit reactance variables

## Slide 43
Normalized Equations