## Slide 1: Physics 598BP
Today: Fluorescence
What is it?
Why is it good?
Basic Set-up
Measuring lifetime– two ways (Lifetime and Phase Modulation)
3D sectioning (confocal microscopy)
Two-photon microscopy (confocal)
Lec 1:
https://www.youtube.com/watch?v=wglcIWF3aeA&feature=youtu.be

## Slide 2: Fluorescence: get beautiful pictures
www.invitrogen.com

## Slide 3
Shine light in, gets absorbed, loses a little bit of energy,
reemits at longer wavelength
What is fluorescence?
Light In
Light Out
Not all molecules fluoresce.
Many absorbs light and then energy is lost to random vibrations (heat)
Only those with delocalized electrons can absorb and then remit energy.
Fluorescein

## Slide 4
Shine light in, gets absorbed, reemits at longer wavelength
Stokes Shift (10-100 nm)
Excitation
Spectra
Emission
Spectra
Photobleaching Important: Dye emits 105 107 photons, then dies!
What is fluorescence?
Time (nsec)
Fluorescence
-t/to
y = e
to = 1/k= 1/(kf +kn.r.)
Fluorescence
& + non-radiative
[nsec]
Thermal
Relaxation
[psec]
Thermal relaxation
[psec]
Absorption
[ftsec]
k
k= kf +kn.r.
Light In
Light Out
Why is excitation spectra & emission spectra (almost) mirror images of the other??

## Slide 5
Where do you excite and where do you collect emission?

## Slide 6: Fluorescence: Can be pH sensitive
Deprotonated:
High pH
Protonated:
Low pH
Equilibrium point—pKa: for fluorescein it’s about 7 (?)

## Slide 7: Why fluorescence? Why so good?
Super-sensitive: see single fluorescent dye!
Why?
2. Lots of different labels for different objects.
Get specificity and see many different objects on same sample.
Answer: It’s a dark-field technique– shine light and w/o fluorophore being there, (ideally) see nothing. [Recall, that the noise associate with taking a measurement is proportional to how much there is: want to weigh something—it’s hard to do really precisely if object weighs a lot; easier to do if you’re weighing a light object. A bright-field technique has a lot of noise.
3. Problem w fluorescence:
must label with a fluorophore
– sometimes, this is difficult/impossible.

## Slide 8: Basic Set-up of Fluorescence Microscope
Semwogerere & Weeks, Encyclopedia of Biomaterials and Biomedical Engineering, 2005
(Lasers, Arc Lamps)
(Eye or Electronic Detectors)
CCD, EMCCDs, PMTs, APDs
Notice that you see nothing if no fluorescence;
it’s a reflection technique plus color discrimination
Little background  can see little (not much) signal.
Fluorophore:
Absorbs blue, emits in green.
High NA objectives
(up to NA=1.49)
Reflects blue light, transmits green

## Slide 9: Fluorophores & Quantum Yield q.y. = # photons out/photons in.
k = krad + kn.r.
t = 1/k = trad + tn.r.
QY = krad/(krad + kn.r)
Have ≥ 1 electron that is free to move. Excitation light moves e’s around, i.e. a dipole, and it can re-radiate, often with polarization.
Good dyes: QY ≈ 1;
Absorption ≈ 100,000 cm-1M-1
( A = ebc)
Thermal
relaxation
Fluorescence (krad )
& Non-radiative (kn.r.)
Absorption
Thermal relaxation
[Femtosec]
[Picosec]
[Picosec]
Energy
S1
S0

## Slide 10: Photobleaching Often Oxygen Dependent
Thermal
relaxation
Fluorescence
& Non-radiative
Absorption
Thermal
relaxation
Triplet State (?)
(Long lifetime: )
Thermal relaxation
[O2]
reaction
Non-Fluorescent state
> 1ms
Photobleached?

## Slide 11: Measuring Lifetimes Time-Domain & Frequency Domain
Time (nsec)
Fluorescence
-t/t
y = ae
t = 1/k= 1/(kf +kn.r.)
Measure the lifetime(s)
As long as excitation pulse very short compared to fluorescence lifetime, you don’t have to correct for it.

## Slide 12: Measuring Lifetimes Time-Domain & Frequency Domain
Excitation light Intensity:
Where E(t) and E0 are the intensity at time t, 0;
ME = modulation factor, w=2pν
Measure them at different modulation frequencies (typically 15-20).
The result is a phase shift & demodulation

## Slide 13: Experimental data and analysis for Frequency Domain measurements
Can get not just one lifetime, but several, indicating some heterogeneity. Especially in case of a (biological) cell.

## Slide 14: FRET: measuring conformational changes of (single) biomolecules
FRET
Distance dependent interactions between green and red light bulbs can be used to deduce the shape of the scissors during the function.
FRET depends sharly on distance, R-6; useful for 20-80Å

## Slide 15: FRET is so useful because Ro (2-8 nm) is often ideal
Bigger Ro (>8 nm)
can use FIONA, PAM. STORM -type techniques

## Slide 16
Fluorescence Resonance Energy Transfer (FRET)
Energy
Transfer
Donor
Acceptor
Dipole-dipole Distant-dependent
Energy transfer
R (Å)
E
Ro  50 Å
Spectroscopic Ruler for measuring nm-scale distances, binding
Time
Time
Look at relative amounts
of green & red

## Slide 17: FRET Lifetimes w and w/o FRET Think of it like you’re on a cliff, walking around randomly with a blindfold on, with holes of certain sizes on the floor. If you walk over one of these holes, you fall down to the ground. The first hole you fall down and you emit a photon. You do this at a rate = krad (a certain number of times per second, so the rate k, has units of 1/time); the second hole you emit a bunch of phonons in the i.r., i.e. heat at a rate = knonrad; the third hole you fall down andpass through a room with a see-saw that you happen to hit which sends a friend, who is sitting on the other end, up to the same height on another cliff.
Your lifetime (Donor) lifetime
Without FRET
k = krad + kn.r.
t = 1/k = trad + tn.r.
QY = krad/(krad + kn.r)
k = krad + kn.r. + kFRET
t = 1/k = trad + tn.r + tFRET
QY = krad/(krad + kn.r + kFRET)
Your lifetime (Donor) lifetime
With FRET
Notice that the lifetime decreases in the presence of FRET. Furthermore, you can alter the size of the FRET rate—make the whole bigger or smaller. The bigger it is, the larger kFRET is, the greater the decrease in your lifetime.

## Slide 18
Class evaluation
1. What was the most interesting thing you learned in class today?
2. What are you confused about?
3. Related to today’s subject, what would you like to know more about?
4. Any helpful comments.
Answer, and turn in at the end of class.